## Slide 1
Heat flow simulations
DELight Meeting 19.11.23
Lena Hauswald

## Slide 2: Heat flow simulation
Rise time determination
Radially symmetrical → 2D-problem

## Slide 3: Diffusion equation
For an isotropic material:
Temperature-dependent parameters:
  Density → negligibly small
  Specific heat capacity
  Heat conductivity
  specific heat capacity , heat conductivity , heat source

## Slide 4: Specific heat capacity
Debye-model:
For low temperatures :
debye-temperature

## Slide 5: Heat conductivity
Carried by acoustic phonones:
  Silicon:
  Sapphire:
Mean free path :
  For low temperatures (): Phonon umklapp scattering negligible
  For high purity materials: Defect scattering negliglible
  Surface scattering (sample diameter)

## Slide 6: Heat conductivity
Mean free path :
  Silicon:
  Sapphire:

## Slide 7: Simulation of heat flow
Finite-Elemente-Methode (FEM) simulation with Elmer
  Subdivision of the area into small triagonals

## Slide 8: Silicon
Parameters:
  Specific heat capacity:
  Heat conductivity:
  Density:
  Wafer size:

## Slide 9: Silicon
Risetime determination:
  Spline interpolation
  Determination temperature peak

## Slide 10: Sapphire
Parameters:
  Specific heat capacity:
  Heat conductivity:
  Density:
  Wafer size:

## Slide 11: Sapphire
Risetime determination:
Comparison with silicon
Conclusion:
Sufficient rise time even in thermal mode
Validation of substrate choice → smaller rise time for sapphire